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Temperature Monitoring Log
Purpose: Records the daily review of temperature for one storage unit or room holding investigational product, specimens or kits.
Instructions
Use one log per storage unit per month. Write the acceptable range from the label, pharmacy manual or laboratory manual in the header, and the monitoring type set in the SOP-06 5.2 Site decision.
Continuous system with alarm ([DEFAULT: a continuous monitoring system with alarm]): the IP Manager or delegate reviews the record each business day and signs the system's daily report or records the review here (SOP-06 5.2.2).
Min/max location: record current, minimum and maximum readings each business day and reset the device. Read it on reopening; the first entry after a closure covers the whole period since the last review (SOP-06 5.2.2, 5.2.3).
A gap in the record, or a device past its calibration date, is a possible excursion until you show the items stayed in range (SOP-06 5.2.4, 5.2.5). Any out-of-range reading: quarantine IP and complete F-304-03 at once; for specimens follow SOP-11 5.2.6. Write the excursion number in the Action column.
If items are moved to backup storage, record who moved them, when, what, and the temperatures before and after (SOP-16 5.3.5). During a monitoring system outage, record manual readings here (SOP-16 5.4).

	Storage unit or room
	
	Contents (IP, specimens, kits)
	
	Monitoring type (continuous with alarm / min/max)
	

	Monitoring device ID
	
	Device calibration due
	
	Acceptable range (°C)
	

	Month and year
	
	
	
	
	



	Date
	Time
	Current (°C)
	Min (°C)
	Max (°C)
	Within range (Y/N)
	Min/max reset (Y/N)
	Action taken, items moved or excursion number
	Reviewed by (initials)

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	



	Role
	Printed Name
	Signature
	Date

	IP Manager (page complete and filed)
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