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Temperature Monitoring Log
Purpose: Records daily temperature readings and reviews for one storage unit or room holding investigational product, specimens or kits.
Instructions
Use one log per storage unit per month. Write the acceptable range from the product label, pharmacy manual or laboratory manual in the header.
Record current, minimum and maximum readings and review the record each business day, then reset the min/max device. The first entry after a closure covers the whole period since the last review.
Treat a gap in the record, or a device past its calibration date, as a possible excursion until you can show the items stayed in range.
Any reading out of range: for IP, quarantine it and complete F-304-03 at once. For specimens and kits, complete F-304-03 and contact the laboratory or sponsor (SOP-311). Write the excursion number in the Action column.
If items are moved to backup storage, record the date, times, items moved and the temperatures before and after in the Action column.
Where a continuous monitoring system or a sponsor logger is used, sign the system's daily report and keep it with this log. Record in the header which record is the source.

	Storage unit or room
	
	Contents (IP, specimens, kits)
	
	Monitoring device ID
	

	Device calibration due
	
	Acceptable range (°C)
	
	Month and year
	

	Source record (this log, system report, sponsor logger)
	
	
	
	
	



	Date
	Time
	Current (°C)
	Min (°C)
	Max (°C)
	Within range (Y/N)
	Min/max reset (Y/N)
	Action taken, items moved or excursion number
	Recorded and reviewed by (initials)

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	



	Role
	Printed Name
	Signature
	Date

	IP Manager or Lead CRC (monthly review)
	
	
	



F-304-02 v1.0 | Eff. [EFFECTIVE DATE] | Template release 1.3	Page 1 of 1




