# Equipment Inventory and Calibration Log

Purpose: Lists each item of site- or sponsor-owned equipment used in trials, its calibration and maintenance status, and any device issued to a participant.

Instructions

List every item used to generate trial data or store IP or specimens, including sponsor-provided equipment and devices or digital health technologies issued to participants.

Calibrate or maintain at the interval set by the manufacturer or sponsor, or [DEFAULT: every 12 months] if neither sets one. File each certificate or service report.

Equipment found out of tolerance or failed is labeled and removed from use. The Quality Lead records the event in Part 1b, files the impact assessment (from the last good calibration) with the equipment record, and the PI reviews it.

Record each issue to and return from a participant in Part 2, and record the device on the participant's IP or study record where the protocol requires.

The Quality Lead reconciles this log against equipment physically present at each location at least [DEFAULT: annually] and records it below. Mark retired or returned items; do not delete rows.

| Location |  | Log page |  |  |  |
| --- | --- | --- | --- | --- | --- |

## Part 1a. Inventory

| Asset ID | Description (manufacturer and model) | Serial number | Owner (site or sponsor and study) | Location | Use (trial data, safety, storage) | Calibration or PM vendor | Acceptance check done (date) | Status (in service, out of service, retired, returned) | Retired or returned: date and reason |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

## Part 1b. Calibration, maintenance and failures

| Asset ID | Calibration or PM frequency | Date done | Next due | Certificate on file (Y/N) | Result (in tolerance, out of tolerance, failed) | Impact assessment reference and PI review (date) | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- |

## Part 2. Devices issued to participants

| Asset ID | Description | Serial number | Participant ID | Issue date | Issued by | Participant trained (date) | Return date | Condition on return | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

## Annual reconciliation

| Annual reconciliation date |  | Reconciled by (Quality Lead) |  | Missing or unlisted equipment resolved |  |
| --- | --- | --- | --- | --- | --- |